# Phase 1 Output

## Existing Conditions Inventory

1464 Sunrise Pkwy, Petaluma, CA 94954

Prepared per the Finish & Fixture Specification SOP (“Shop, Don't Design”)

Design lead: John (Philippines team)  |  Date: July 24, 2026

Note on the permit scope: the permit says “no exterior work other than repairing siding” AND “paint interior and exterior.” Read together, repainting the existing exterior siding body IS in scope. What is NOT clearly in scope: garage door replacement, board-and-batten additions, landscaping, and the paver pathway.

# Stairway

Lighting

- Recessed lights: 0

- Pendant lights: None installed

- Chandelier: No

- Notes: 1 extra light bulb at base of stairs; 1 round light near top landing — both effectively cover the stairway, no dedicated fixture of its own

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Carpet, beige | TBD |
| Hardware | Metal railing/handrail | KEEP |
| Other | Electric sockets at top of stairs | — |

Unsure / Questions for Juan

- Is the stair carpet being replaced along with the rest of the flooring, or kept?

# Hallway (2nd Floor)

Lighting

- Recessed lights: 0

- Pendant lights: None installed

- Chandelier: No

- Notes: 2 round flush-mount ceiling lights, warm-toned, medium size

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Wood-look | TBD |
| Paint | Pastel light pink | TBD |
| Other | 5-level built-in storage unit between the two bedrooms; square AC vent in ceiling | — |

# Bathroom (Upstairs)

Lighting

- Wall sconces: 1 — bar-style, fabric/frosted shade, warm bulb, above sink

- Vanity lights: 1 (same fixture)

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Tile | TBD |
| Cabinets | Vanity cabinet under sink | TBD |
| Faucet | 2-handle | TBD |
| Sink | 1, existing | TBD |
| Paint | White (vanity wall); tile (shower area, marble-look w/ accent band) | KEEP |
| Doors/hardware | Wood, white paint, lever-style, good condition | KEEP |
| Windows/trim | Small vent/exhaust window, minimal trim | KEEP |
| Other | 2 mirrors present (3ft unattached rectangular + framed hanging) — only one likely stays; storage shelving left of entrance; toilet functional; single-handle showerhead | — |

Unsure / Questions for Juan

- Which of the 2 mirrors stays?

- Permit says fixtures “remain in same locations” — same fixtures kept, or new fixtures in the same spots?

# Orange Room (Bedroom, Upstairs)

Lighting

- Recessed/ceiling lights: None installed

- Notes: Fire alarm bell present; light switch by door (no ceiling fixture to control)

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Wood-look | TBD |
| Paint | Yellow-orange-beige tone | TBD |
| Doors/hardware | Wood, white paint, carved detail, lever-style, good condition | KEEP |
| Windows/trim | 1 square window, white trim, curtain rod hooks (no curtains) | TBD |
| Other | 3 electric sockets; corkboard (likely removed) | — |

# Blue Room (Bedroom, Upstairs)

Lighting

- Chandelier: Yes — ~3.5ft hanging shell-style, center of room — style doesn't match design direction, replace candidate

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Wood-look | TBD |
| Cabinets | Hanging wall cabinet, glass front | TBD |
| Paint | Very light blue, dark blue painted corner outline | TBD |
| Doors/hardware | Wood, white paint, no carvings, lever-style, good condition | KEEP |
| Windows/trim | 1 square window w/ blinds, white trim | TBD |
| Other | 4 electric sockets; closet/storage compartment | — |

Unsure / Questions for Juan

- Keep or replace the shell chandelier?

# Open Space (Downstairs Living Room)

Lighting

- Pendant lights: 4 total — 2 chain-hung box/panel pendants; 1 lantern pendant near the entry/pink accent wall (confirmed as the “chandelier” from Juan's video); 1 globe pendant beside the stairs

- Other: 1 ceiling fan

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Tile, square, wood-look pattern | TBD |
| Paint | White, pastel pink accent wall | TBD |
| Doors/hardware | Main door (glass panel, gold knob, twist lock) + screen door (new brass deadbolt + knob); sliding glass door beside wood stove | KEEP |
| Windows/trim | 2 windows, white trim | TBD |
| Other | Wood stove/pot belly fireplace — OFFICIALLY SCHEDULED FOR REMOVAL per permit, wall/siding to be patched; baseboard mixed dark/white needs unifying; wall-mounted stair handrail; storage room under the stairs; storage room to the left of the stairs | — |

# Yellow Room (Downstairs)

Lighting

- Ceiling light: 1, flat circular flush-mount

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Wood-look | TBD |
| Paint | Wall color not confirmed (only ceiling damage/hole documented) | FLAG |
| Doors/hardware | Wood, white paint, round doorknob; connecting door to downstairs bathroom (regular knob, swinging) | KEEP |
| Windows/trim | 1 stained-glass window, wood-tone/gold trim | TBD |
| Other | 4 sockets, 1 switch; curtain rod wider than the window | — |

Unsure / Questions for Juan

- Keep or replace the stained-glass window?

- What's the actual wall paint color? Never explicitly confirmed.

# Bathroom (Downstairs)

Lighting

- Other: Classic 3-bulb “Hollywood-style” fixture above sink/mirror — replace candidate

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Tile | TBD |
| Cabinets | Vanity cabinet under sink | TBD |
| Faucet | Single-handle (up-down style) | TBD |
| Sink | White, existing | TBD |
| Paint | White | TBD |
| Doors/hardware | Good condition | KEEP |
| Windows/trim | Small vent window, minimal trim (same type as upstairs) | KEEP |
| Other | Bathtub behind glass sliding shower door, 3-handle faucet control, HEAVY STAINING/MOLD BUILDUP — needs cleaning at minimum, possibly reglazing/replacement; 2 mirrors (1 + mirrored cabinet door); storage shelving left of entrance; connecting door to yellow room | — |

Unsure / Questions for Juan

- Which mirror stays?

- Does the tub get cleaned, reglazed, or replaced given the staining?

- Same “same locations” ambiguity as the upstairs bath — same fixtures or new?

# Kitchen

Lighting

- Recessed lights: 0 existing — 12-pack being added (Amazon, per Juan's video)

- Chandelier: No (confirmed — not this room)

- Other: 1 oval/sphere semi-flush light (existing, over sink); 1 flat circular ceiling light (existing, over the white-cabinet side)

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Tile | TBD |
| Cabinets | Wood-tone run (12", 15"×2, 24" corner, 24", 30", 36"×36" Lazy Susan, 36" sink cabinet, uppers 40" high) vs. a different white-finish run on the opposite wall | TBD (unify or two-tone) |
| Hardware | Being sourced from office stock | NEW |
| Countertops | Black laminate (chipped/worn front edge) | REPLACING (granite, already acquired) |
| Backsplash | White square tile | TBD |
| Faucet | 2 separate existing faucets (center + pull-out sprayer) | TBD |
| Sink | Double-basin white, existing — video mentions a sink “in the office” | TBD |
| Paint | Cream/yellow-white | TBD |
| Doors/hardware | Kitchen→garage door (wood, dirty, needs repaint); kitchen sliding glass door (vertical blinds); kitchen left-side wood+glass door (good) | — |
| Windows/trim | 1 window, white trim | KEEP |
| Appliances | Range hood, range, dishwasher, refrigerator (counter-depth, dims to Caesar). Tier: mid-to-upper — “not bottom of the barrel… doesn't have to be Viking… not cheap.” | ALL REPLACING |

Unsure / Questions for Juan

- Is the existing sink being replaced by the one sourced in the office, or kept?

- Unify the two cabinet finishes, or leave two-tone?

# Garage

Lighting

- Fixtures: 2 total — 1 round, 1 linear/tube-style (~1 meter)

Finishes

| Item | Detail | Status |
| --- | --- | --- |
| Flooring | Concrete, sealed/painted gray finish, stained/dirty in areas | — |
| Framing/walls | Mixed — exposed studs w/ pink batt insulation (main bay/near garage door), white wall finish (near water heater) | TBD (unify/finish out) |
| Storage | Built-in dark wood cabinet/hutch, 2 white cabinet units, 3 stored wood cabinet/box units | TBD |
| Doors/hardware | Garage door (exterior) needs replacement, pending permit confirmation; kitchen→garage door — wood, dirty, needs repaint | — |
| Other | Water heater (being repaired/re-strapped per permit); electrical panel/breaker box mounted on stud wall near garage door (main panel repair item from permit); wood blocking pieces on ceiling need removal for garage door clearance | — |

# Exterior

- House numbers: “1464,” mounted near front entry — KEEP

- Mailbox: None — mail slot built into door/wall instead

- Security camera: Present, exterior wall-mounted — keep/relocate TBD

- Exterior lighting (4 fixtures): black lantern (main entry/screen door); plain round light (back of wood-stove area, siding here shows unfinished/patched paint); white coach lantern (kitchen slider, reddish-brown trim casing); plain double-globe utility light (near gas/electric meter)

- Siding: Beige stucco — repair dry rot per permit; repainting the exterior body IS in scope per the permit's own wording (“paint interior and exterior”)

- Garage door: Needs replacement — pending confirmation this is authorized beyond “repairing siding”

- Fence: Old wood, weathered — outside strict permit scope (not siding)

- Patio: Brick pavers, existing, outside the kitchen slider — KEEP

- Front window glass: Being replaced per permit

Unsure / Questions for Juan

- Confirm garage door replacement, fence work, and landscaping/pathway are authorized, or get the permit amended.

# Summary — Open Questions for Juan (All Rooms)

- Bathroom fixtures (both) — same fixtures kept in place, or new fixtures in the same locations?

- Which mirror stays in each bathroom (2 present in each)?

- Downstairs tub — clean, reglaze, or replace given the mold staining?

- Kitchen sink — keep existing, or install the one sourced in the office?

- Kitchen cabinets — unify the two finishes, or keep two-tone?

- Blue room shell chandelier, yellow room stained-glass window — keep or replace?

- Yellow room's actual wall paint color — never confirmed.

- THE BIG ONE: garage door replacement, fence, landscaping, and pathway — confirm these are authorized beyond “repairing siding,” or get the permit amended.

Phase 1 status: COMPLETE. Ready to move into Phase 2 (room-by-room shopping checklist).